# Detailed Diagnostic Report (DDR)

**Detailed Diagnostic Report (DDR)**

**Property Issue Summary**

The inspection was conducted on 27.09.2022 at 14:28 IST for a 11-floor flat property. The inspection revealed 1 flagged item, with a score of 85.71%. The property has no previous structural audit or repair work done.

**Area-wise Observations**

1. **Hall**
	* Negative side: Observed dampness at the skirting level.
	* Positive side: No issues observed.
2. **Common Bathroom**
	* Negative side: Observed gaps between the tile joints.
	* Positive side: Observed hollowness in the tile.
3. **Master Bedroom**
	* Negative side: Observed dampness at the skirting level.
	* Positive side: Observed gaps between the tile joints.
4. **Kitchen**
	* Negative side: Observed dampness at the skirting level.
	* Positive side: No issues observed.
5. **Master Bedroom Bathroom**
	* Negative side: Observed dampness at the skirting level.
	* Positive side: Observed gaps between the tile joints.
6. **Parking Area**
	* Negative side: Observed leakage at the ceiling.
	* Positive side: Observed plumbing issue and gaps between the tile joints.
7. **Common Bathroom**
	* Negative side: Observed mild dampness at the ceiling.
	* Positive side: Observed gap between tile joints.

**Probable Root Cause**

The probable root cause of the issues observed is:

* Water seepage and leakage from the external walls and roof.
* Poor plumbing and drainage system.
* Inadequate maintenance and repair of the property.

**Severity Assessment**

The severity of the issues observed is:

* Hall: Moderate
* Common Bathroom: Moderate
* Master Bedroom: Moderate
* Kitchen: Moderate
* Master Bedroom Bathroom: Moderate
* Parking Area: Moderate
* Common Bathroom: Moderate

**Recommended Actions**

1. Immediate repair of the water seepage and leakage from the external walls and roof.
2. Inspection and repair of the plumbing and drainage system.
3. Maintenance and repair of the property to prevent further damage.
4. Installation of a waterproofing system to prevent water seepage.
5. Regular inspection and maintenance of the property to prevent future issues.

**Additional Notes**

* The property has no previous structural audit or repair work done, which may have contributed to the current issues.
* The thermal imaging report shows temperature variations, which may indicate water seepage or other issues.
* The property owner should consider hiring a professional to inspect and repair the property.

**Missing Information**

* The property owner's contact information.
* The property's maintenance and repair history.
* The property's waterproofing system (if any).
* The property's plumbing and drainage system (if any).

**Thermal Imaging Report**

The thermal imaging report shows temperature variations, which may indicate water seepage or other issues. The report is attached to this document.

**Summary Table**

The summary table is attached to this document.

**Appendix**

The appendix contains the thermal imaging report and other relevant documents.

**Inspection Checklist**

The inspection checklist is attached to this document.

**Customer Information**

Customer Name: Not Available
Mobile: Not Available
Email: Not Available
Address: Not Available

## Inspection Images

## Thermal Images